## Western_densitometry
Anti-TetR immunoblot - integrated signal per lane
Fixed-rectangle integration on the raw 16-bit chemiluminescence image (Tet_r_Signal.tif).
Lane | Sample | Fraction | Integrated signal | Relative to max
1 | NC | S | 963101 | 0.0058
2 | NC | P | 799464 | 0.0048
3 | PC+LVA | S | 7101629 | 0.0426
4 | PC+LVA | P | 16188564 | 0.0972
5 | PC-LVA | S | 87562524 | 0.5258
6 | PC-LVA | P | 90758068 | 0.545
7 | BD3 ON | S | 127615511 | 0.7663
8 | BD3 ON | P | 166541632 | 1
9 | BD3 OFF | S | 16321295 | 0.098
10 | BD3 OFF | P | 10256580 | 0.0616
11 | BD4 ON | S | 23622593 | 0.1418
12 | BD4 ON | P | 19820732 | 0.119
13 | BD4 OFF | S | 36564408 | 0.2196
14 | BD4 OFF | P | 25509438 | 0.1532
Within-sample solubility (this is the readout)
Sample | S signal | P signal | Total | % soluble | % insoluble | Note
NC | 963101 | 799464 | 1762565 | 54.6 | 45.4 | at background (0.6% of BD3 ON total) - ratio not interpretable
PC+LVA | 7101629 | 16188564 | 23290193 | 30.5 | 69.5 | only ~13x above NC - ratio carries little information
PC-LVA | 87562524 | 90758068 | 178320592 | 49.1 | 50.9
BD3 ON | 127615511 | 166541632 | 294157143 | 43.4 | 56.6
BD3 OFF | 16321295 | 10256580 | 26577875 | 61.4 | 38.6
BD4 ON | 23622593 | 19820732 | 43443325 | 54.4 | 45.6
BD4 OFF | 36564408 | 25509438 | 62073846 | 58.9 | 41.1

## BCA_raw_plate
Raw A562 - as read
Row | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | What this row is
A | 0.822 | 0.827 | 0.5 | 0.77 | 0.932 | 0.963 | 1.046 | [5 empty] | samples, tech. rep 1 (cols 1-7)
B | 0.964 | 0.825 | 1.369 | 0.755 | 0.879 | 0.865 | 0.91 | [5 empty] | samples, tech. rep 2 (cols 1-7)
C | 0.795 | 0.794 | 0.726 | 0.756 | 0.873 | 0.892 | 0.941 | [5 empty] | samples, tech. rep 3 (cols 1-7)
D | 2.011 | 1.248 | 0.776 | 0.528 | 0.384 | 0.298 | 0.238 | 0.209 | 0.196 | 0.19 | 0.184 | 0.185 | BSA standards T1-T12, tech. rep 1
E | 2.263 | 1.354 | 0.806 | 0.534 | 0.38 | 0.303 | 0.245 | 0.214 | 0.2 | 0.194 | 0.189 | 0.189 | BSA standards T1-T12, tech. rep 2
F | 2.127 | 1.377 | 0.85 | 0.546 | 0.402 | 0.33 | 0.25 | 0.218 | 0.205 | 0.195 | 0.193 | 0.187 | BSA standards T1-T12, tech. rep 3
Sample identity of cols 1-7 (rows A-C):
| NC | PC + LVA | PC - LVA | BD3 ON | BD3 OFF | BD4 ON | BD4 OFF
BSA of cols 1-12 (rows D-F), ug/mL:
| 2000 | 1000 | 500 | 250 | 125 | 62.5 | 31.25 | 15.625 | 7.8125 | 3.9062 | 1.9531 | 0.97656
Struck-out orange cell = PC - LVA technical replicate 2 (A562 = 1.369), above the 1000 ug/mL standard and excluded.

## BCA_standard_curve
BSA standard curve - 12-point 2-fold series in 1:10 BugBuster
Tube | BSA (ug/mL) | rep 1 | rep 2 | rep 3 | Mean A562 | Net A562 | In fit? | Back-calculated (ug/mL) | Recovery %
T1 | 2000 | 2.011 | 2.263 | 2.127 | 2.1337 | 1.9441 | yes | 1999.6 | 100
T2 | 1000 | 1.248 | 1.354 | 1.377 | 1.3263 | 1.1368 | yes | 1002.1 | 100.2
T3 | 500 | 0.776 | 0.806 | 0.85 | 0.8107 | 0.6211 | yes | 496.2 | 99.2
T4 | 250 | 0.528 | 0.534 | 0.546 | 0.536 | 0.3464 | yes | 251.8 | 100.7
T5 | 125 | 0.384 | 0.38 | 0.402 | 0.3887 | 0.1991 | yes | 126.5 | 101.2
T6 | 62.5 | 0.298 | 0.303 | 0.33 | 0.3103 | 0.1208 | yes | 61.3 | 98.1
T7 | 31.25 | 0.238 | 0.245 | 0.25 | 0.2443 | 0.0548 | no
T8 | 15.625 | 0.209 | 0.214 | 0.218 | 0.2137 | 0.0241 | no
T9 | 7.8125 | 0.196 | 0.2 | 0.205 | 0.2003 | 0.0108 | no
T10 | 3.9062 | 0.19 | 0.194 | 0.195 | 0.193 | 0.0034 | no
T11 | 1.9531 | 0.184 | 0.189 | 0.193 | 0.1887 | -0.0009 | no
T12 | 0.97656 | 0.185 | 0.189 | 0.187 | 0.187 | -0.0026 | no
Matrix blank - 1:10 BugBuster (mean of T10-T12, n=9) <-- subtracted from standards AND samples | 0.1896
Reagent-only blank (rows G-H, n=24) - reference only, NOT used | 0.0909
Quadratic fit net A562 = a*C^2 + b*C + c (T1-T6, 62.5-2000 ug/mL)
a | -1.3965e-07
b | 0.0012285
c | 0.045944
R^2 | 0.99999
Inverted to read concentration: C = ( -b + SQRT( b^2 - 4a(c - netA) ) ) / (2a)
T7-T12 (31.25 ug/mL and below) are excluded: T7 nets only 0.055, at the detection floor, and including it degrades the fit across the whole curve.

## Total_protein_norm
Crude-lysate protein concentration and loading volume
Absorbances are of the 1:10 dilution in BugBuster; C_crude corrects back to neat lysate (C_well / 100). Loading volume delivers 20 ug of total protein to the T lane, and the SAME volume goes into S and P.
V_load (uL) = 20 / (0.75 x C_crude) = 26.7 / C_crude (T, S and P are all at ~0.75 cell-equivalents per uL by construction)
Sample | rep 1 | rep 2 | rep 3 | Reps used | Mean A562 (used) | CV % (used) | Net A562 | C in well (ug/mL) | C crude (ug/uL) | V_load (uL) | Note
NC | 0.822 | 0.964 | 0.795 | 1, 2, 3 | 0.8603 | 10.6 | 0.6708 | 542 | 5.42 | 4.9
PC + LVA | 0.827 | 0.825 | 0.794 | 1, 2, 3 | 0.8153 | 2.3 | 0.6258 | 500.4 | 5 | 5.3
PC - LVA | 0.5 | 1.369 | 0.726 | 1, 3 | 0.613 | 26.1 | 0.4234 | 318.8 | 3.19 | 8.4 | replicate 2 (1.369) excluded - above the 1000 ug/mL standard; reps 1 and 3 are the two mutually close values.
BD3 ON | 0.77 | 0.755 | 0.756 | 1, 2, 3 | 0.7603 | 1.1 | 0.5708 | 450.3 | 4.5 | 5.9
BD3 OFF | 0.932 | 0.879 | 0.873 | 1, 2, 3 | 0.8947 | 3.6 | 0.7051 | 574 | 5.74 | 4.7
BD4 ON | 0.963 | 0.865 | 0.892 | 1, 2, 3 | 0.9067 | 5.6 | 0.7171 | 585.3 | 5.85 | 4.6
BD4 OFF | 1.046 | 0.91 | 0.941 | 1, 2, 3 | 0.9657 | 7.4 | 0.7761 | 641.1 | 6.41 | 4.2
Spread across the seven samples (max/min C_crude): 2.01
All samples read mid-curve, between the 250 and 1000 ug/mL standards. No extrapolation.
Reminder: S and P are NOT normalised to the total-protein stain. The two fractions
deliberately carry unequal total protein; the readout is the within-sample S:P ratio,
which is internally normalised and unaffected by C_crude.